## Slide 1: CDISC Lab Transmission Model Updates
Harmonizing Transmission with Submission

## Slide 2: Transmission Model History
First release in 2002
  Flat file format
  SAS format
Second release 2003
  Minor cleanup changes and extensions
  Microbiology extension added
  XML format added
HL7 V3 release (2008)
  Now retired

## Slide 3: Submission Model History
LB Domain part of first release (2004)
  Periodic releases since then every 12-24 Months
  LB not always affected
  Current production version is 3.4 (2021)
  FDA accepting data in V3.2 and V3.3
  V3.4 may be approved for submission in 2023
  Some sponsors are using v3.4 model on their new studies
  These releases also added a number of new domains for Specimen Management, Genomics, Immunology and Flow Cytometry
Version 4.0 under development
  Target is late 2024

## Slide 4: Submitting LOINC Codes
A CDISC/LOINC/FDA team mapped over 1500 standard lab tests Between LOINC and CDISC LAB Terminology
  As of March 2021, all new studies should collect these mapped LOINC Codes
  Labs provide the codes, sponsors should not independently map
In order to insure a unique mapping of a LOINC Code, CDISC added several new fields to the LB Domain
These fields are not only for LOINC, but for general use in all Findings Domains

## Slide 5: Transmission Model’s Unique Features
Transmission Information
  Model Version Number
  Transmitter ID and/or Name
  Transmission Date/Time
  Transmission Type (Full or Incremental)
  Record Action (Add, Delete, Update)
Subject
  Submission Model has a single ID field
  Transmission Model allows for 3 (Screening, Enrollment and Randomization)
  Transmission Model allows for Subject Age at Collection, not just a single age for the study
Visit/Kit Type
  Visit Type (Scheduled/Unscheduled)
  Visit Sub-type (Retest, Termination, etc.)
Accession/Container IDs
  Submission Model allows only one ID (LBREFID), usually the Accession
  Transmission Model allows for Accession and Container (Specimen) IDs

## Slide 6: Transmission Model’s Unique Features (cont.)
Test Definition
  Transmission Model includes code and name for Panel/Battery
  Submission Model allows CDISC Analyte and LOINC Code
  Transmission Model allows for lab and sponsor internal Test Codes as well as CDISC and LOINC
Result, UOM and Reference Range Value Sets
  Submission Model allows value and UOM Reported by lab, and a single standard result with UOM
  Transmission Model allows for SI, Conventional and Value Reported to Site
  Transmission Model LOINC Code is at the Result, Not Analyte level
  Transmission Model allows for Blinding, Exclusion, Alert and multiple Delta flags (Baseline and Prior)
Timing Variables
  Submission Model limited to Collection Date/Time (Start and End)
  Transmission Model has more (Receipt of Specimen at Lab, Test Resulted, Result Reported to Site)

## Slide 7: SDTM LAB Extra Variables – Test Related
LBTSTCND Test Condition, Defines any planned condition the analyte was subject to for the test (e.g. with a binding or stimulating agent) CDISC controlled terminology
LBBDAGNT Binding Agent. The textual name of an agent that is binding to the analyte defined in LBTEST. Sponsor controlled terminology
LBTSTOPO Test Objective, Defines the objective of the test (e.g. a screening or confirmation test) CDISC controlled terminology
LBCAT Test Category , Defines the high level category of the test (e.g. Hematology, Chemistry). Sponsor controlled terminology
LBSCAT Test Sub-category under category (e.g. Electrolytes under Chemistry) Sponsor controlled terminology

## Slide 8: SDTM LAB Extra Variables – Method Related
LBANMET Analysis Method, The name of an equation used by the lab to compute a derived result value. CDISC controlled terminology
LBTMTHSN Test Method Sensitivity, A value that indicates the sensitivity (e.g. HIGH) of the test method. CDISC controlled terminology

## Slide 9: SDTM LAB Extra Variables – Specimen Related
LBSPCUFL Specimen Usability for Test, a Boolean indicating if the specimen was in a condition to use for the planned test.

## Slide 10: SDTM LAB Extra Variables – Result Related
LBRESSCL Result Scale, a value that indicates the general scale (e.g. Narrative, Quantitative) of the result. CDISC controlled terminology
LBRESTYP Result Type, a value that further defines the nature of the result (e.g. MCNC for Mass Concentration). CDISC controlled terminology
LBCOLSRT Collected Summary Result Type, a value that indicates the type of summary result (e.g. Arithmetic vs. Geometric Mean). CDISC controlled terminology

## Slide 11: SDTM LAB Extra Variables – Time Related
LBPTFL Point in Time Flag, a Boolean that indicates the specimen was collected at a single point in time.
LBPDUR Planned Duration of Collection, a time value which indicates the planned duration of the specimen collection. Must be in ISO 8601 format.

## Slide 12: Proposed Solution
Take the CDISC Transmission Model’s unique fields and define that set as a transmission extension that may be attached to any SDTM specimen based findings domain to serve as an enriched SDTM compliant transmission model for each domain.
  This extension would contain approximately 55-60 transmission data fields that extend the submission model.
  Attaching this extension to the V3.4 LB Domain would add 16-18 new STM data fields to the new to the SDTM compliant Transmission Model.
    A few SDTM fields may not be included (e.g. xxSPID)
  Transmission data field definitions should be reworded to standard CDISC form
  Define each transmission add-on field as Required, Expected or Permissible
    Probably only Transmission Information fields are required
  Rename subject demographic fields so name matched equivalent field in the SDTM Demographics (DM) domain
  Develop example data sets showing how the extension attaches to each specimen based findings domain.